## Slide 1
Real strain profile
Spatial Resolution
Fiber
Sensing distance

## Slide 2
Low accuracy with low SNR
Not limited to sensing points
(Any point can be sensor)
High accuracy with high SNR
Limited sensing points
(only work at discrete points)
Point strain sensor
Distributed strain sensor
BOTDA (Brillouin Optical Time Domain Analysis)
BOCDA (Brillouin Optical Correlation Domain Analysis)
Strain gauge
FBG (Fiber Bragg Grating)
Low accuracy
High spatial information
High accuracy
Low spatial information

## Slide 3
Gaussian Process Mapping
Linear Mapping
=
X
plus
dot
=
feeding
input
X
plus

## Slide 4
Inputs
Hidden layer
with infinitely units
Input-connected
hidden layer
with infinitely units
=
1st GPR
2nd GPR

## Slide 5
Perform measurement for
both point and distributed strain sensor
Construct GP regression for LF-data ()
using LF-data in Eq. (12)
Distribtued sensor (LF-data):
Point sensor (HF-data):
For mapping function (),
Construct GPR for GP mapping ( ()) in Eq. (16)


Compute discrepancy between
HF-data and corresponding mapping prediction (()) via in Eq. (17)
Construct GP regression for
discrepancy in Eq. (18)
[ ] 
Input
Output
Predict HF-prediction () by adding and
in Eq. (19)

## Slide 6
(a)
(b)
(c)

## Slide 7
(a)
(b)

## Slide 8
(a)
(b)

## Slide 9
(a)
(b)
(c)

## Slide 10
(a)
(b)

## Slide 11
(a)
(b)

## Slide 12
Specimen
BOCDA
(Distributed sensor)
Strain gauge
(Point sensor)

## Slide 13
y
x
x
10cm
35cm
20cm
20cm
5cm
5cm
35cm
z
CH #4
CH #8
CH #12
Low-fidelity data: BOCDA (15EA)
High-fidelity data: Strain gauge (15EA)
CH #15
0.5cm
5.922 kg
(0.987*6EA)
x
z
Support
Region
Support
Region
1.97 kg
(0.987*2EA)
x
<Experimental study #1: Asymmetric distribution>
CH #1
<Experimental study #2: Symmetric distribution>
120cm

## Slide 14
X=0 cm
X=70 cm
58 cm
CH #15
CH #1
(a)
(b)
(c)
(d)

## Slide 15
(a)
(b)

## Slide 17
X=0 cm
X=70 cm
30 cm
CH #15
CH #1
(a)
(b)
(c)
(d)

## Slide 18
(a)
(b)